COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

DEPARTMENT OF PUBLIC UTILITIES

Arthur D. Petrini, P.E.

DIRECTOR

(804) 501-4517

INTER-OFFICE MEMORANDUM

TO:			Department of Planning & Zoning

ATTN:		Jim Strauss

FROM:		Department of Public Utilities

SUBJECT:		Landscape and Lighting Plan Review

PROJECT NAME:	Reynolds Crossing One

DATE:		April 27, 2007

The following comments are made in reference to your memorandum of April 17, 2006.

- There appears to be conflicts with proposed landscaping and utilities and/or utility easements. Plantings cannot be placed in utility easements or directly over utility lines and tree planting must be at least 10 feet away from all utilities. Review and remove the proposed trees located near each fire hydrant.

- Approval of the landscaping cannot be provided until the final utility layout has been approved.

If you have any questions, please contact the Department of Public Utilities at 501-4508 for any necessary clarifications.

PARHAM AND HUNGARY SPRINGS ROAD / P.O. BOX 27032 / RICHMOND, VIRGINIA 23273-7032