## COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | LP/POD2007-00062: Willow Lawn Center and CVS |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | May 3, 2007 |

### LP/POD2007-00062		 Willow Lawn Center and CVS	POD-47-06

<landscaping  for both CVS and Center>

The Division of Police recommends approval with the below requirements addressed or met.

The Division of Police can’t recommend approval.  Additional information is needed.

SECTION I.

ADDRESS THE FOLLOWING ITEMS IN ORDER FOR THE DIVISION OF POLICE TO ENDORSE THIS PLAN:

- The landscape plan should show the light pole locations to ensure there is no conflict with tree canopies.  Provide this information.

- The lighting should be provided in conjunction with the landscaping.  No lighting plan was submitted.

- Shrubs are indicated continuously along all property lines, to include Broad Street and Willow Lawn Drive.  This is a concern as the plant schedule states they will be 36 inches at installation.  The Division of Police is very concerned with visibility to and from a site, especially as this area continues to improve.  Alternatives to the continuous hedge of Glossy Abelia and Arborvitae include:

a)  Street trees only

b)  Street trees and groupings of lower growing shrubs

c)   If a continuous hedge is required, the applicant is encouraged to select alternative plants with a natural growth habit of no more than two feet.  The goal is to provide as much visibility to and from the site as possible.

SECTION II.

Implement the following security standards:

### Landscaping:

- The landscape plan should show the light pole locations as well.

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site.  Shrubs should have a natural growth height of no more than 2 ½ to 3 feet, or be maintained at this height, especially when located along an entrance, walkway or parking area.

- Trees should have a natural growth with limbs at least 4 feet off the ground, or be maintained with the canopy raised, especially when located along a building entrance, walkway or parking area.

- The location of light poles and their relationship to the trees throughout the parking lot and along the building edge needs to be considered.  The two should not be located in the same area, as illumination will be reduced as the tree matures.

## Lighting

- The lighting plan should be submitted with the plan of development.

- The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.

- The Illuminating Engineer Society of North America (IESNA) has created standards on security lighting.  The below chart is from the Guidelines for Security Lighting for People, Property, and Public Spaces, IESNA G-1-03.

| Security Locations and Tasks | Illuminance, (Lux)/FC (Horizontal) - Average | Illuminance Lux/FC (Vertical) | Footnotes on special considerations | Ratios (avg to minimum) |
| --- | --- | --- | --- | --- |
| Supermarket, Major Retail Parking |  |  |  |  |
| Parking lot | (30)/ 3.0 | (a) | -- | 4:1 |
| Low activity – close in parking | (50)/ 5.0 | (a) | (k) | 4:1 |

Footnotes: (a) Vertical illuminance of 5-8 lux or values that produce a uniformity ratio of no more than 4:1 (25% of horizontal illuminance;  (k) Size of parking area determined by estimated customer count.

- The lights throughout the site should be the same.  The emphasis is to have the same color of light (white or orange/yellow) throughout.  This will provide good color rendition, help with visibility and reduce contrasts.  Metal Halide is preferred.

- All light fixtures need to be full cut-off.

- The type of light fixture the Division of Police requires is one that puts the light down on the ground, versus horizontally and up in the air.  Many of the decorative light fixtures put the light everywhere but where you want it, which is on the ground.  If decorative fixtures are installed, they should have the bulb in the top casing of the fixture so that the light will be directed towards the ground (see photo).  This will also avoid glare because you don’t actually see the bulb.

- Lighting is one of the most economical and effective forms of crime prevention available.  Lighting must be even and uniform and not produce dark areas or sharp contrasts for concealment.

- In creating uniform lighting, consider:

- type of fixture				c)  the direction of the light

- the height of poles			d)  spacing of fixtures

While our requirements for the endorsement of the plan does not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.  Should you have any questions or comments, contact me at (804) 501-5370 or van06@co.henrico.va.us.

Kim Vann

Planner III - CPTED

Crime Prevention Specialist

# Text boxes

The white globe visible to the eye in this post top fixture is decorative; the light bulb is in the top of the fixture.