COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

Randall R. Silber

Director of Planning

(804) 501-4602

June 22, 2007

Monte Lewis, P.E.				Joseph Plumpe, CLA

E.D. Lewis and Associates, P.C.		Studio 39

2116 Spencer Road				6416 Grovedale Drive, Suite 100-A

Richmond, Virginia 23230			Alexandria, VA 22310

Re: 	POD 20-06 Monument Square

Lighting Plan Review

Gentlemen:

Please be advised that the planning review of the Lighting plan submitted for approval on, May 29, 2007, has been completed.  Based upon this review, the Planning Department has the following comments, which may delay the approval of your plans:

1) The Division of Police has indicated that lighting levels do no comply with Illuminating Engineer Society of North America (IESNA) Standard G-1-03 - security lighting for multifamily dwellings.  They recommend a minimum illumination level of 1-foot candle: within parking areas and at building entrances and walks.  While we recognize that building mounted lighting will significantly enhance lighting levels, cut sheets and typical building lighting location plans have not been provided.  In particular, we are concerned with the lighting levels in front of Blocks: 7, 10, 12, 19, 20 and 23 and the parking areas adjacent to Block 10.

2) A maintenance agreement is required for poles located within the pubic right of way along Byrd Avenue, Wythe Avenue and Willow Lawn Drive.

3) Flood proof connections should be considered for fixtures in the flood plain along Wythe Avenue and Willow Lawn Drive.

4) A separate landscape plan must be submitted for review and approval

If you have any questions, or if I can be of further assistance, please call me at 501-5920

Sincerely,

Michael F. Kennedy

County Planner