## COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | POD2007-00130: Independence Park Bldg 2 |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | August 3, 2007 |

POD2007-00130		Independence Park Bldg 2		POD-20-04

The Division of Police recommends approval with the below requirements addressed or met in Section I.

The Division of Police can’t recommend approval at this time.  Provide written compliance or new plans with details shown/stated to address the items in Section 1 for an endorsement from this agency.

SECTION I.

ADDRESS THE FOLLOWING ITEMS IN ORDER FOR THE DIVISION OF POLICE TO ENDORSE THIS PLAN:

- Increase the light levels throughout the site.  No illumination is provided for the rear of the building, even though there are exits and sidewalks provided.  The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.  Improve the levels in the following areas:

  - Rear of the building

  - Both sides, especially areas where the level drops below 1.0 foot-candle.

  - Parking lot along I-64 levels drop to 0.08 foot-candles.

- All light fixtures need to be full cut-off, to include any building mounted lights.  Provide information on these lights.

- The location of light poles and their relationship to the trees throughout the parking lot and along the building edge needs to be considered.  The two should not be located in the same area, as illumination will be reduced as the tree matures.

Zelkova and Crape Myrtles.  Both are located by a light pole, one or the other should be moved to maximize the illumination from the light.

SECTION II.  Implement the following security standards:

Lighting

- The lamps throughout the site should be the same.  The emphasis is to have the same color of light (white or orange/yellow) throughout.  This will provide good color rendition, help with visibility and reduce contrasts.  Metal Halide is preferred.

- The type of light fixture the Division of Police requires is one that puts the light down on the ground, versus horizontally and up in the air.  Many of the decorative light fixtures put the light everywhere but where you want it, which is on the ground.  If decorative fixtures are installed, they should have the lamp in the top casing of the fixture so that the light will be directed towards the ground (see photo).  This will also avoid glare because you don’t actually see the lamp.

- Lighting is one of the most economical and effective forms of crime prevention available.  Lighting must be even and uniform and not produce dark areas or sharp contrasts for concealment.

- In creating uniform lighting, consider:

- type of fixture				c)  the direction of the light

b)   the height of poles			d)  spacing of fixtures

Landscape

- The landscape plan should show the light pole locations as well.

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site.  Shrubs should have a natural growth height of no more than 2 ½ to 3 feet, or be maintained at this height, especially when located along an entrance, walkway or parking area.

- Trees located around buildings, walkways and parking areas should have a natural growth habit that is a tree-form, non-pyramidal shape tree.  If this can’t be done in various areas, the canopy of the trees should then be raised at least 4 feet from the ground as they mature.

While our requirements for the endorsement of the plan does not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.  Should you have any questions or comments, contact me at (804) 501-5370 or van06@co.henrico.va.us.

Kim Vann

Planner III - CPTED

Crime Prevention Specialist

# Text boxes

The white globe visible to the eye in this post top fixture is decorative; the lamp is in the top of the fixture.