COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

Randall R. Silber

Director of Planning

(804) 501-4602

August 2, 2007

Mark Gilstrap

3827 Gaskins Road

Richmond, VA 23233

RE: 	Independence Park Bldng #2

LP/POD 20-04

Dear Mr. Gilstrap

The Planning Department has completed its initial review of the above referenced plan. Based upon this review, the Planning Department has the following comments.

Landscape Review:

- Provide a north arrow.

- Provide additional landscaping within a section of the transitional buffer, approximately 170’ in length, to enhance the transitional buffer on the east side of the property, adjacent to the residential property (See picture).

  - Plant material staff would like you to consider:

- 7- Cryptomeria japonica

- 4- Fagus grandifolia

- 3- Quercus Virginiana

- Change the Zelkova trees on the southeast side of the property (one near the dumpster and two adjacent to the residential property) to Shumard Oak species. Change the Crapemyrtle in the parking island, in the same location, to a Zelkova.

- Sign location is not part of this approval.

Approximate location of additional buffer plantings.

Lumen Plan:

- Light fixtures need to coincide with the existing fixtures. The lumen plan that was approved 2/23/05 shows a different type of light fixture. Was this type of fixture changed?

- Keep light poles out of parking islands where trees are proposed.

Staff is pending comments from Public Works, Police and Public Utilities, and will be forwarded under a separate cover. Please address all of our comments and re-submit seven (7) copies. Please note that you cannot commence planting until this landscape plan is approved. If you have any questions or comments regarding Planning comments, or plant material, please feel free to contact me at 501-4626.

Sincerely,

Greg Garrison

County Planner