September 7, 2007

Paul Hinson, P.E.

Koontz-Bryant, P.C.

1703 N. Parham Road, Suite 202

Richmond, VA  23229

RE:	Dominion English Hills Apartments

Additional Parking, Queensmere Place

File No. 4600; POD 085-74 ADM

Dear Mr. Hinson:

We have reviewed the construction plans submitted to the Planning Department on August 21, 2007.

DPU recommends approval of these plans by the Planning Commission.

Please address the following comments before submitting the construction plans for signature.

Cover Sheet:

- Provide a contact name for the engineer.

Sheet C2:

- Label the scale and provide a north arrow.

- Reference CSB / CWB Sheets 197 NE, 198 NW, 258 SE, and 259 SW in the bottom right corner of the plan sheet.  Copies of the CWB/ CSB sheets will be provided with plan comments.

- Label the size and material of the existing water and sanitary sewer lines.

- Provide CSB information for the existing manholes.

- Show all water and sewer utilities including fire hydrants, water meters, sewer laterals, etc. on the plan.

- Provide a note indicating that the existing utilities will maintain the minimum cover during construction.

Sheet L1:

- Remove the tree that is located within the existing 16’ Water Easement.  Trees shall not be placed in the utility easements.

- Add the following note, “The owner is responsible for replacement of any planting (i.e. shrubs, etc.) damaged or removed by DPU, or its agent, as required for maintenance of County owned water and/or sewer facilities.”

- Be advised the landscaping plan cannot be approved until the utility plan is approved.

General:

- Agreements are not required for this project.

If you have any questions concerning the above noted comments or the plans, please contact me at 501-4508, or Bentley Chan at 501-7543.

Sincerely,

Alice Jackson

Utilities Engineer