COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

DEPARTMENT OF PUBLIC UTILITIES

Arthur D. Petrini, P.E.

DIRECTOR

(804) 501-4517

INTER-OFFICE MEMORANDUM

TO:			Department of Planning & Zoning

ATTN:		Tony Greulich

FROM:		Department of Public Utilities

SUBJECT:		Lighting Plan Review

PROJECT NAME:	Settler’s Ridge Subdivision Section B, POD-011-06

DATE:		September 21, 2007

The following comments are made in reference to your memorandum of September 18, 2007.

- All light posts should be clearly shown on the lighting plan to determine any conflicts with lighting and utilities and/or utility easements. Currently, the light posts are not clearly shown to be reviewed.

If you have any questions, please contact the Department of Public Utilities at 501-4512 for any necessary clarifications.

Tanneh Togba-Lee

Public Utilities

PARHAM AND HUNGARY SPRINGS ROAD / P.O. BOX 27032 / RICHMOND, VIRGINIA 23273-7032