# October 10, 2007

Mr. Paul Hinson, P.E.

Koontz-Bryant, P.C.

1703 N. Parham Road

Suite 202

Richmond, Virginia     23229

RE:	Dominion English Hills Apartments

Additional Parking

Queensmere Place

File No. 4600; P.O.D. No. 085-74 ADM

Dear Mr. Hinson:

We have reviewed the construction plans submitted to the Planning Department on September 27, 2007.

Please address the following comments and resubmit revised construction plans for review.  Water and Sewer Agreements that must be executed by the Owner and the County are not required for this project.

Sheet C2:

1.	DPU does not allow legends to replace direct callouts.  Do not identify utility items with letters and a note table.  The existing manholes must be labeled directly on the plan.

2.	Show all existing water and sewer utilities on the plan per the CSB/CWB sheets or Henrico County GIS.  The Townes Site Engineering plans dated 12/01/04 are expired and are shown in our system as not being constructed at this time.  The plans for the additional parking should reflect as such and show only the existing utilities per the CSB/CWB sheets or Henrico County GIS.  Review and revise.

Sheet L1:

3.	Be advised the landscaping plan cannot be approved until the utility plan is approved.

General:

4.	Agreements are not required for this project.

If you have any questions concerning the above noted comments or the plans, please contact me at 501-4508 or Bentley Chan at 501-7543.

Sincerely,

Alice N. Jackson

Utilities Engineer