## COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | POD2007-00208: Richmond Cold Storage |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | October 31, 2007 |

POD2007-00208		Richmond Cold Storage		POD-92-89

The Division of Police recommends approval with the below requirements addressed or met in Section I.  Written compliance or new plans with details shown/stated will meet our requirements.

The Division of Police can’t recommend approval at this time.

SECTION I.

ADDRESS THE FOLLOWING ITEMS IN ORDER FOR THE DIVISION OF POLICE TO ENDORSE THIS PLAN:

- Provide information on the fence, to include type of fence, height.  Fence location should meet below standards.

- Does the lighting around the existing building meet an illumination level of at least 1.0 foot-candles? This information isn’t shown.  Provide the light levels for the corridor area that’s been created by the new addition.

SECTION II.  Implement the following security standards:

Landscape plan

- The location of light poles and their relationship to the trees throughout the parking lot and along the building edge needs to be considered.  The two should not be located in the same area, as illumination will be reduced as the tree matures.

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site.  Shrubs should have a natural growth height of no more than 2 ½ to 3 feet, or be maintained at this height, especially when located along an entrance, walkway or parking area.

- Trees located around buildings, walkways and parking areas should have a natural growth habit that is a tree-form, non-pyramidal shape tree.  If this can’t be done in various areas, the canopy of the trees should then be raised at least 4 feet from the ground as they mature.

Fencing

- If existing fencing exists along the property lines, recommend tying into that fence versus installing a fence line that would create an “alleyway”. This will actually create a “dead zone”, an area that no one knows who it belongs to and may not be visible to the surrounding area.

Lighting

- Consideration should be given to submitting the lighting plan with the plan of development to avoid conflicts with landscaping, identify best locations for conduit at this phase, etc.

- The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.

- The lamps throughout the should be the same.  The emphasis is to have the same color of light (white or orange/yellow) throughout.  This will provide good color rendition, help with visibility and reduce contrasts.  Metal Halide is preferred and is to be used.

- All light fixtures need to be full cut-off.  The cut sheets provided indicate full cut off.

- The type of light fixture the Division of Police requires is one that puts the light down on the ground, versus horizontally and up in the air.  Many of the decorative light fixtures put the light everywhere but where you want it, which is on the ground.  If decorative fixtures are installed, they should have the lamp in the top casing of the fixture so that the light will be directed towards the ground (see photo).  This will also avoid glare because you don’t actually see the lamp.

- Lighting is one of the most economical and effective forms of crime prevention available.  Lighting must be even and uniform and not produce dark areas or sharp contrasts for concealment.

- In creating uniform lighting, consider:

- type of fixture				c)  the direction of the light

- the height of poles			d)  spacing of fixtures

- Routine maintenance of the lights throughout the property should be in place.

  - A program should be implemented to review the lights regularly to determine if any have burnt out or been broken and need replacing.

  - Globes should be cleaned to ensure full illumination from the light.

  - A program should be established to relamp the complex, also known as group relamping.  This will better ensure the proper use of the light bulb, as well as reducing cost when lights need to be replaced one at a time and each individual visit has to be paid for.

d)   A program should be established in trimming and maintaining tree canopies and other plant materials at and around the light poles, wallpacks, etc.

While our requirements for the endorsement of the plan does not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.  Should you have any questions or comments, contact me at (804) 501-5370 or van06@co.henrico.va.us.

Kim Vann

Planner III - CPTED

Crime Prevention Specialist

# Text boxes

The white globe visible to the eye in this post top fixture is decorative; the lamp is in the top of the fixture.