COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

Randall R. Silber

Director of Planning

(804) 501-4602

October 31, 2007

John S. Frost, Construction Manager

Windsor Business Park

8550 Magellan Parkway

Richmond, Virginia 23227

Re: 	POD 41-01 Windsor Business Park ADM 5

Phase 2 Building 4 Parking Expansion

Landscape and Lighting Plan Review

Dear Mr. Frost:

The Planning Department has completed its review of the above referenced plan.  Based upon this review, the Planning Department has the following comments, which would delay approval of your plans by the staff on behalf of the Planning Commission:

- Six additional Muskogee Crepe Myrtle trees with a minimum height of 6 feet should be provided to satisfy interior parking landscaping requirements. One sould be provided in the northern corner anmther in the southern corner , two in the filterre units in the eastern corner and two in the landscape island on the south side of the entrance to the parking area

- Thee is an inadequate lighting level provided along the western side of this remote parking area, which is a grave security concern, the prior plan provided a more balanced lighting level with a higher minimum lighting level and additional light pole should be provided along the western side of the parking area.

- The light pole shown at the southern end of the building on the lighting plan, should be revised to reflect its location across the drive aisle behind the opposing parking spaces and outside the underlying utility easement, as shown on the landscape plan.

- A note should be added to the plans indicating: “The owner is responsible for replacement of any planting material located within a public easement that is removed or damaged as a result of the use or maintenance of the public facility located within the easement”.

Once the concerns listed above are addressed, the plans can be approved. If you have any questions, please call me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner

PC: 	Cameron Barradale, CLA,

Design Forum

1301 W. Main Street

Richmond, VA 23220