## COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | POD2007-00213: Reynolds Office Building I |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | November 5, 2007 |

POD2007-00213		Reynolds Office Building		POD-13-07

The Division of Police recommends approval.

The Division of Police can’t recommend approval at this time. Provide information to address items in Section I.

SECTION I.

ADDRESS THE FOLLOWING ITEMS IN ORDER FOR THE DIVISION OF POLICE TO ENDORSE THIS PLAN:

- The location of light poles and their relationship to the trees throughout the parking lot and along the building edge needs to be considered.  The two should not be located in the same area, as illumination will be reduced as the tree matures.

European Hornbeam.  In several instances the light pole is located beside this tree.  One or the other should be moved.

- No cut sheets were provided to indicate if the light fixtures will be full cut off.  This includes all building mounted lights too.

- The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.

- Increase illumination along the perimeter of all four sides of the parking lot.  This area on all sides falls below 1.0 foot-candle.

- Provide foot-candle levels along the building edge and walkway.

- The walking path shown should have the following characteristics:

a)  visibility along the path for the user.  Provide at least 10 feet on either side of the path of clearance (shrubs naturally growing to a height of no more than 2 feet and tree canopy with canopy at least 4 feet from the ground).

b)  provide sight lines from the parking lot and building to this path.

c)  if the path connects to others within this property, provide signs as to where the path is taking you, and where you are on certain points.

d)  other security features should be considered, for example emergency call boxes

SECTION II.  Implement the following security standards:

Landscape plan

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site.  Shrubs should have a natural growth height of no more than 2 ½ to 3 feet, or be maintained at this height, especially when located along an entrance, walkway or parking area.

- Trees located around buildings, walkways and parking areas should have a natural growth habit that is a tree-form, non-pyramidal shape tree.  If this can’t be done in various areas, the canopy of the trees should then be raised at least 4 feet from the ground as they mature.

- Consideration should be given to submitting the lighting plan with the plan of development to avoid conflicts with landscaping, identify best locations for conduit at this phase, etc.

- The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.

- The lamps throughout the entire site, not just this portion, should be the same.  The emphasis is to have the same color of light (white or orange/yellow) throughout.  This will provide good color rendition, help with visibility and reduce contrasts.  Metal Halide is preferred. The plan indicates Metal Halide to be installed.

- All light fixtures need to be full cut-off.  Provide information clarifying this item.

- The type of light fixture the Division of Police requires is one that puts the light down on the ground, versus horizontally and up in the air.  Many of the decorative light fixtures put the light everywhere but where you want it, which is on the ground.  If decorative fixtures are installed, they should have the lamp in the top casing of the fixture so that the light will be directed towards the ground (see photo).  This will also avoid glare because you don’t actually see the lamp.

- Lighting is one of the most economical and effective forms of crime prevention available.  Lighting must be even and uniform and not produce dark areas or sharp contrasts for concealment.

- In creating uniform lighting, consider:

- type of fixture				c)  the direction of the light

- the height of poles			d)  spacing of fixtures

- Routine maintenance of the lights throughout the property should be in place.

  - A program should be implemented to review the lights regularly to determine if any have burnt out or been broken and need replacing.

  - Globes should be cleaned to ensure full illumination from the light.

  - A program should be established to relamp the complex, also known as group relamping.  This will better ensure the proper use of the light bulb, as well as reducing cost when lights need to be replaced one at a time and each individual visit has to be paid for.

d)   A program should be established in trimming and maintaining tree canopies and other plant materials at and around the light poles, wallpacks, etc.

While our requirements for the endorsement of the plan does not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.  Should you have any questions or comments, contact me at (804) 501-5370 or van06@co.henrico.va.us.

Kim Vann

Planner III - CPTED

Crime Prevention Specialist

# Text boxes

The white globe visible to the eye in this post top fixture is decorative; the lamp is in the top of the fixture.