## COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | POD2008-00427: Morris Tile Addition: Dabney Rd. |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | September 19, 2008 |

POD2008-00427			      Morris Tile Addition 			POD-041-85

<2280 Dabney Road>L/L

The Division of Police recommends approval at this time.

Implement the following security standards:

Landscaping – Schematic landscape plan submitted

- The location of the light poles in relation to the trees needs to be considered, especially in parking lots and areas along the building’s edge. The two should not be located in the same area, as illumination will be reduced as the tree matures.

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site. Shrubs should have a natural growth habit of no more than 2 ½ to 3 feet, or should be maintained at this height, especially when located along an entrance, walkway or in a parking area.

- Trees located around the buildings, walkways and parking areas should have a natural growth habit that is a tree-form, non-pyramidal shaped tree. If this cannot be done, the canopy of the trees should be maintained at least 4 feet from the ground as the tree matures.

____________________________________________________________________________________

While our requirements for the endorsement of the plan does not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.

Should you have any questions or comments, please contact us at:

Kim Vann				Gretchen Goodman

CPTED Planner III, CPS		CPTED Planner I

(804) 501-5370				(804) 501-4861

van06@co.henrico.va.us		goo42@co.henrico.va.us