COUNTY OF HENRICO

VIRGINIA

INTER-OFFICE MEMORANDUM

| TO: | Planning Office | SUBJECT: | POD2009-00340: Mini Price Warehouse |
| --- | --- | --- | --- |
| FROM: | Division of Police, Community Policing Unit | DATE: | September 30, 2009 October 26, 2009 |

POD2009-00340		Mini Price Warehouse					POD-31-09

<4300 and 4340 W. Broad –mini storage warehouse – 3 sty -  front part in City; rest Henrico- N side Broad, E of Westmoreland, beside Antique Auction and Budget Rental Car>

The Division of Police recommends approval with the Section I requirements addressed or met.  In emails dated 10/23/09 & 10/26/09 from Mr. Brad Martin, P.E., Martin Engineering, addresses items in Section I.

The Division of Police cannot recommend approval at this time.

SECTION I.   Address the following items in order for the Division of Police to endorse this plan:

- A preliminary lighting plan was submitted on 10/8/09.The lighting plan needs to be submitted at this time.   The submittal of a lighting plan with the plan of development offers the opportunity to design suitable lighting for the use, thus benefiting the applicant, business and end users by creating a safer environment due to good lighting practices.  This early consideration of fixture locations should prove cost effective, avoid conflicts with landscaping and identify best locations for conduit, etc.

- The lighting plan should meet the lighting standards listed in Section II.

- Provide the details for the perimeter fence.  The fence was identified on the site plan but no details on the type, height or materials of the fence.  Per 10/23/06 email: The fence will be 6’ tall and aluminum (a “Jerith” brand or similar) where clearly visible from Broad Street, say to the Henrico / Richmond boundary or a little beyond.  Further back on the property, and fully encircling the proposed building, the fence will be 6’ tall and vinyl-coated chain link.

- Provide information on the security measures planned for this site.  Provide information on the following:

- a)  How the gate system will operate.  How emergency services will gain entry. Per Staff/Dev meeting on 10/8/09 - gate system operation – click to enter / 800mz

- b)  Identify the security measures to be put in place in the office; building ingress and egress points; within the storage areas; etc.  Per Staff/Dev meeting on 10/8/09 - facility alarmed / security system interior and exterior – access code (key in)

- The building should be alarmed.  Per Staff/Dev meeting on 10/8/09 – the building will be alarmed.

- A digital camera system or Video Surveillance System (VSS) should be installed in the exterior and interior of the facility.  Per Staff/Dev meeting on 10/8/09 – A VSS will be installed in the exterior and interior of the facility.

- See additional security measures that should be implemented in Section II, Items 15-25.

- 10/26/09 – A potential issue was identified between existing perimeter and proposed fencing.  The applicant agrees to work towards avoiding creating a “dead space” between two fences.  If the existing fence is on his property, or alternatively if he can get permission from the adjacent property owner, he will remove the existing fence and replace it with the new fence.  Otherwise, he will probably install his new fence right along the property line, creating as little “dead space” as possible. HPD will work with the applicant as the fence locations are identified.

SECTION II.  Implement the following security standards:

## Landscaping Plan – Schematic plan submitted

- The landscape plan should show light pole locations as well.

- The location of the light poles in relation to the trees needs to be considered, especially in parking lots and areas along the building’s edge. The two should not be located in the same area, as illumination will be reduced as the tree matures.

- All shrubs and trees should be trimmed to allow for maximum visibility to and from the site and from within the site. Shrubs should have a natural growth habit of no more than 2 ½ to 3 feet, or should be maintained at this height, especially when located along an entrance, walkway or in a parking area.

- Trees located around the buildings, walkways and parking areas should have a natural growth habit that is a tree-form, non-pyramidal shaped tree. If this cannot be done, the canopy of the trees should be maintained at least 4 feet from the ground as the tree matures.

- The perimeter fencing should be both decorative and durable, and it should offer visibility to and from the site. Fencing will secure the property against trespassers by defining the property’s boundaries and creating access control.

- If existing fencing exists along the property lines, recommend tying into that fence versus installing a fence line that would create an “alleyway”. This will actually create a “dead zone”; an area that no one knows who it belongs to and may not be visible to the surrounding area.

- A maintenance policy should be developed to address the repair/replacement of fence material as necessary. Any necessary repairs should be made promptly to deter trespassing and vandalism.

## Lighting Plan – No plan submitted

- The minimum maintained light level should be no lower than 1.0 foot-candles throughout the parking areas, walkways, building entrance and building edge.

- The lamps throughout the site should be the same.  The emphasis is to have the same color of light (white or orange/yellow) throughout.  This will provide good color rendition, help with visibility and reduce contrasts.  Metal Halide lamps (white light) are preferred.  Color rendition refers to how objects of various colors appear under a particular lamp.

- All light fixtures should be full cut-off.

- The type of light fixture the Division of Police requires is one that puts the light down on the ground, versus horizontally and up in the air. If decorative fixtures are installed, they should have the lamp in the top casing of the fixture so that the light will be directed towards the ground (see photo).

- Lighting is one of the most economical and effective forms of crime prevention available. For lighting to be effective it must be uniformly distributed so that dark areas and areas of sharp contrast are not created. The Illuminating Engineer Society of North America defines uniformity as “the evenness of the distribution of light on the surface(s)”…which “aids security perception, while reducing the necessity for eye adjustment…” IESNA G-1-03, 5.4.

- In creating uniform lighting, consider:

a) type of fixture			c)  the direction of the light

b) the height of poles		d)  spacing of fixtures

- Routine maintenance of the lights is recommended.

  - A schedule should be established to review lights to determine if any need replacing.

  - Globes should be cleaned periodically to ensure full illumination from the light.

  - A program should be established to relamp the complex, also known as group relamping. This method reduces cost by minimizing site visits for the purpose of relamping, and it ensures that the lamps being replaced are consistent with all surrounding lamps.

  - A program should be established for the trimming and maintenance of tree canopies and other plant materials at or around the light poles so that illumination is not reduced.

## Interior

- Access into the storage building needs to be limited to one entrance point.

- Each rentable storage space must have two locks, a client lock and a storage unit issued lock.

- Client must obtain a key to the storage lock by submitting a driver’s license while in the storage facility.  Once a client is finished accessing the space they will need to return the storage unit issued key in order to get back their driver’s license.

- Install a digital camera system throughout the corridors of the storage units, in the stairwells, elevators, etc.  Install monitors and the equipment in the office area.  A signal should be tripped as a corridor is entered to notify office personnel staff that an area of the building is being used.

- A wide-angle peephole or one-way window should be installed on the rear doors, employee entrance doors and delivery doors.

- The following measures should also be in place to increase the security for side, rear or storage doors:

a)  Metal or solid core			c)  Deadbolt locks

b)  Metal frames				d)  Reinforced strike plates

- Provide access control (physical security) on all exterior doors.

- Equip the doors with self locking devices that will engage immediately when the door shuts.

- Door hinges should not be located on the exterior side of the door. If this cannot be done, non-removable hinge pins or piano hinge/continuous hinge should be used.

- Consideration should be given to alarming the building, as well as providing panic alarms.

- Provide good visibility at all employee entrances and exits. The employee and customer should be able to see clearly prior to entering or exiting the building.

____________________________________________________________________________________

The Division of Police supports and implements Crime Prevention Through Environmental Design (CPTED), which is the theory that the proper design and effective use of the built environment can lead to a reduction in the incidence and fear of crime and an improvement in the quality of life.

The following characteristics need to be in place at this site.

- Natural Surveillance.  Provide natural surveillance throughout the site, especially to parking areas, buildings, building entrances, walkways, etc.  Natural surveillance is the placement of physical features, activities and people in such a way as to maximize visibility.

- Natural Access Control. Provide natural access control throughout the site.  Natural access control is the physical guidance of people coming and going from a space by the judicial placement of entrances, exits, fencing, landscaping and lighting.   The goal is to guide people where you want them to go and how you want them to get there.

- Territorial reinforcement.  Territorial reinforcement is the use of physical attributes that express ownership, such as fences, pavement treatments, art, signage and landscaping.  The goal is to promote ownership and pride in where you live and work.

- Maintenance.  Allows for the continued use of space for its intended purpose.  It also serves as an additional expression of ownership.

For more information log on to www.henricopolice.org and click on CPTED

While our requirements for the endorsement of the plan do not guarantee a crime-free environment, it is our experience that the application of the concepts of Crime Prevention Through Environmental Design (CPTED) will reduce the opportunity for crime to occur and will enhance the quality of life.   Should you have any questions or comments, please contact me at (804) 501-5370 or van06@co.henrico.va.us.

Kim Vann

Planner III – CPTED

Crime Prevention Specialist

# Text boxes

The white globe visible to the eye in this post top fixture is decorative; the lamp is in the top of the fixture.