- Correct the Structure #’s for the Structural BMP’s listed in the Compliance Calculations. [61 should be 72 & 27 should be 31].  Correct the “Master Plan” Compliance Sheet too on Page C10.7

- Provide a BMP Maintenance Agreement.

- Provide a Maintenance Agreement for Improvements in the right of way, drainage easements, etc.

- Extend the Drainage Easement along Pipe Segment (30-31) to the Post Developed 100-year flood plain limit.

- Extend the Drainage Easement along Pipe Segment (71-72) a few feet just beyond the Rip-Rap Outlet Protection.

- Additional comments may follow upon review of a subsequent submittal.

Reviewed by:	Steve Bandura

Date Reviewed:	18jul11

Phone Number:	804-501-4616

Revised 1/2/07