COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

January 24, 2018

Mitchell Bowser P.E.

Timmons Group

117 S. 14h Street, Suite 303

Richmond, VA 23219

##### Re: 	TM# POD2017-002625

##### 2308 Westwood Avenue

##### Original POD Plan Review 2

##### Gentlemen:

Planning review of the above-referenced Plan of Development submitted for review on January 12, 2018, has been completed.  The Planning Department has the identified the following deficiencies:

The POD proposes net poles and netting that range between 90 and 170 feet in height. A Provisional Use Permit (PUP) must be approved by the Board of Supervisors to authorize structures exceeding 50-feet in height, in accordance with Section 24-66.1(b) of the Zoning Code. The proposed PUP has been recommended by the Planning Commission and is scheduled for a public hearing by the Board of Supervisors at their February 13, 2018 meeting.

A maintenance agreement is required for private improvements within the public right of way and public easements. The agreement must be recorded prior to Construction Plan approval.

Per the Planning Commission’s conditions of approval: Evidence that VDOT has reviewed and approved the construction plans for this project shall be provided prior to final approval of construction plans by Henrico County. Their review must include both construction details for the driveway entrance along Westwood Avenue (SR-197), as well as the construction details for the proposed drainage structures adjacent to Interstate I-195.

Per the Planning Commission’s conditions of approval: emergency access to the concrete channel must be approved by the Fire Marshal’s Office.

Provide a note on the layout plan sheet indicating:” The property owner/developer will post: “No Trespassing” signs along the entire length of the channel located on the property and enter into an enforcement agreement with the Division of Police.”

Provide landscaping and maintenance access to the Extended Dry Detention Basin in accordance with Department of Public Works design standards.

Include a copy of the Planning Commission’s POD, Special Exception, Alternative Fence Height, and Lighting Plan approval letter on the Construction Plan.  Include copies of DPW’s SPA exception approval letter and Storm Water Pumping exception approval letter on the Construction Plan. Include a copy of the Board of Supervisor’s Provisional Use Permit approval letter on the Construction Plan, if it is approved.

Provide handicapped access and accessible parking in accordance with ADA requirements. (See comments from the Building Official’s Office.)

A VDOT entrance permit is required for the entrance driveway from Wellwood Avenue (State Route 197).

Indicate the discrete height of each proposed net pole on the Layout Plan sheet

A no-rise certificate for the 100-year Special Flood Hazard Area must be approved by DPW. Include a copy of the approval letter on the Construction Plan.

A final landscape plan must be submitted for review and approval once the site has been cleared and brought to final grade and the location of all above grade utility and HVAC equipment have been identified. Revise the Plant Schedule in accordance with the County Landscape Manual.

Revise the lighting plan to provide photometric lighting levels for the sidewalks, patio area, entrance drive, and the additional parking area shown on the revised layout plan. Include complete catalogue cut sheets for all pole and building mounted lighting fixtures and for light poles and pole bases on the lighting plan sheets for review and approval.

Signage is not a part of this review. Separate sign permits must be submitted to the Permit Center for review and approval. Show the location of any proposed freestanding sign on the Landscape Plan.

The property owner must apply for the vacation of any recorded drainage easement for the relocated portion of the channel,

Additional comments may be identified when the POD plans are revised.

Additional comments will be provided separately by the Departments of Public Works and Public Utilities, and VDOT, as well as the Fire Marshal, Police CPTED Planner, and the Building Official’s Office. Their comments and the comments provided above must be addressed or acknowledged prior to staff recommending approval of the Plan of Development by the Planning Commission.  If you have any questions regarding the above, please contact me at 501-5920.

.

Sincerely,

Michael F. Kennedy

County Planner

P.C.: 	Rodger Rodriguez, Timmons

Eric Uebelhor, Arco Murray

Rob Hargett, Rebkee