COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

February 21, 2018

Mitchell Bowser P.E.

Timmons Group

117 S. 14h Street, Suite 303

Richmond, VA 23219				Re: 	TM# POD2017-002625

##### 2308 Westwood Avenue

##### POD Plan Review 3

##### Gentlemen:

Planning review of the above-referenced Plan of Development submitted for review on February 7, 2018, has been completed.  The Planning Department has the identified the following items which may delay construction plan approval:

A copy of the approval letter for the Provisional Use Permit (PUP) authorizing the net pole structures must be added to the construction plan.

As agreed, a maintenance agreement for private improvements (including the concrete channel) within the public right of way and public easements satisfactory to both DPW and VDOT must be recorded prior to construction plan approval.

As agreed, evidence that VDOT has approved the construction plan must be provided prior to construction plan approval by Henrico County.

As agreed the owner must enter into a “No Trespassing” enforcement agreement with the Division of Police” prior to approval of a Certificate of Occupancy. Please provide planning with a copy of the agreement.

A copy of the no-rise certificate for the 100-year Special Flood Hazard Area approved by DPW, must be added to the construction plan.

As agreed a final landscape plan must be submitted for review and approval once the site has been cleared and brought to final grade, and required landscaping installed prior to approval of a Certificate of Occupancy.

Although the site lighting levels appear appropriate; the font size on the photometric lighting plan does not satisfy construction plan submission requirements and is not reproducible. Revise the lighting plan to provide a larger font for the photometric lighting levels.

As agreed, the property owner will apply for the vacation of any recorded drainage easement for the relocated portion of the channel, prior to approval of a Certificate of Occupancy.

Additional comments may be identified when the POD plans are revised.

Additional comments will be provided separately by the Departments of Public Works and Public Utilities, and VDOT. Their comments and the comments provided above must be addressed prior to submission of construction plans for signature.  If you have any questions regarding the above, please contact me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner

P.C.: 	Rodger Rodriguez, Timmons

Eric Uebelhor, Arco Murray

Rob Hargett, Rebkee