COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

April 30, 2018

Mitchell Bowser P.E.

Timmons Group

117 S. 14h Street, Suite 303

Richmond, VA 23219

##### Re: 	TM# POD2017-00625

##### 2308 Westwood Avenue

##### Master Case # POD2017-00625

TM Case # POD2018-00015

##### Revised POD Plan Review 6

##### Gentlemen:

Planning review of the revised PDFs for the above-referenced Plan of Development submitted for review on April 17, 2018, has been completed.  The Planning Department has the identified the following items which may delay construction plan approval:

Add the Master Case Number (POD2017-00625) to the upper right-hand corner of the Cover Sheet, on the POD plans submitted for signature.

Add “Site Lighting” as a subtitle on the Cover Sheet; as it is part of this approval, on the POD plans submitted for signature.

Add the PUP # (PUP2018-00002) to Item # 10E under Site Data on the Coversheet.

Indicate the Special Exception for Building Height and Alternative Fence Height approved by the Planning Commission on January 24, 2018, on the chart found on the Cover Sheet on the POD plans submitted for signature.

Indicate the SPA Exception and the Storm Water Pumping Exception approved by the Director of Public Works on January 22, 2018, on the chart found on the Cover Sheet, on the POD plans submitted for signature. (as amended)

Indicate the Fill in the 100-year Flood Plain Exception approved by the Director of Public Works on February 16, 2018, on the chart found on the Cover Sheet on the POD plans submitted for signature.

Indicate any VDOT and or DEQ exceptions including: Access Management and Encroachment in the Limited Access Easement for I-195, on the chart found on the Cover Sheet on the POD plans submitted for signature.  And include copies of the approval letters on the POD plans submitted for signature

Provide an apron in accordance with DPW design standards between the rolled face curb and the revised access ramp to the concrete channel.

Revise the location of the 6-foot wide building setback along the western property line on the Layout Plan sheets (series C4.0 et al) to reflect the proposed boundary line adjustment. Reflect the revised property lines on all Construction Plan sheets as applicable. Identify the width, length and area, as well as applicable line distances and bearings of the strip to be consolidated with 4100 Tomlynn Street. Revise calculations and plan references as applicable, including: Items #7 Acreage and #15 Tree Canopy, under Site Data on the Cover Sheet. Extend existing public drainage easement previously recorded in DB 1509 PG 196, to extend across the strip as determined necessary by DPW. Provide recording information for the proposed access easement crossing the strip. Provide tie information as necessary for the VEPCO easement recorded in DB 3936 PG 1807.

Revise the access easement for maintenance of the proposed concrete shown on Sheet C5.0 to reflect the revised maintenance access ramp location. and for the storm water lift stations and ancillary storm sewers as determined necessary by DPW.

Evidence that VDOT has approved the construction plan must be provided prior to construction plan approval by Henrico County.

Provide evidence the owner has entered into a “No Trespassing” enforcement agreement with the Division of Police” prior to approval of a Certificate of Occupancy.

A final landscape plan must be submitted for review and approval, and required landscaping installed prior to approval of a Certificate of Occupancy.

Provide evidence the property owner has applied for the vacation or quit claim for any abandoned drainage or utility easement, prior to approval of a Certificate of Occupancy.

Additional comments may be identified when the POD plans are revised.

Additional comments will be provided separately by the Departments of Public Works and Public Utilities, and by VDOT. Their comments and the comments provided above must be addressed prior to submission of construction plans for signature. You may submit PDF copies if the revised plan sheets that address the above-referenced deficiencies for Planning staff review.

If you have any questions regarding the above, please contact me at 501-5920.

.

Sincerely,

Michael F. Kennedy

County Planner

P.C.: 	Rodger Rodriguez, Timmons

Eric Uebelhor, Arco Murray

Rob Hargett, Rebkee