COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

March 11, 2019

Greg Smith, PE

##### Timmons Group

##### 1001 Boulders Parkway, Suite 300

##### Richmond, VA 23225

##### Re: 	POD B-405 Fire House #20

##### Preliminary Plan Review

TM# POD2019-00085

##### 8521 Willis Road

##### Dear Mr. Smith:

Please be advised that the planning review of the above-referenced plan submitted for review on February 19, 2019, has been completed.  The Planning Department has the identified the following deficiencies, which should be addressed:

- A complete Plan of Development (POD) must be submitted for review and approval by the Board of Supervisors.

- The POD plan should include both a lighting plan and a landscape plan for concurrent review and approval.

- Clearly identify the property lines and GIS coordinates on the applicable plan sheets.

- The lighting plan should include a photometric plan, as well as cut-sheets for all pole and building mounted site lighting fixtures and a pole detail.

- The landscape plan should include a complete landscape specifications chart and screening details, as well as any proposed fence locations and details.

- Identify the Plan as POD, Utility, Landscaping and Lighting Plan on the Cover Sheet.

- Color renderings of both the building elevations and site plan will be required.

- If necessary, provide a parapet along any flat roof to screen any roof top mechanical equipment.

- The calculation for required parking should indicate one parking space per firefighter per shift, plus one parking space per firefighter for shift change, plus one parking space for the Fire Station Captain, plus one parking space for the Battalion Chief, plus one parking space for Police use and plus one parking space for each handicapped accessible parking space. (In accordance with previous fire house approvals.)

- Provide interior greenspace and tree canopy calculations.

- Provide an approvals page in the sheet index and include a copy of the Board of Supervisors approval letter and any exception letters on the construction plans submitted for signature.

- Indicate trees to be removed and the area in square feet of existing tree save on the Existing Conditions Plan sheet.

- Indicate tree protection at the dripline of the trees to be preserved on the E&S Plan

- Identify the location of all overhead and underground storm and utility lines on the Site Plan and Landscape Plan sheets.

- Indicate if existing electric, telephone and/or communication lines must be relocated.

- All drive aisles should be improved with curb and gutter.

- Parking spaces and the dumpster enclosure should not be arranged to require maneuvering into public streets or principal fire truck access drives where possible.

- The alignment and design of Willis Road must be approved by the Traffic Engineer.

- Any construction including signalization improvements within the right of way for Staples Mill Road must be approved by VDOT. VDOT may require a Maintenance of Traffic plan.

- Construction staging should be designed to not interrupt access to the Bliley Funeral Home property. A proposed drop inlet appears to conflict with the Bliley Funeral Home driveway along Willis Road.

- Sidewalks should connect the proposed building to the adjoining streets and to other buildings in the Western Government Center

- Provide CG-12 handicapped accessible ramps as applicable along both public and interior sidewalks; and passing bays, as necessary, if the proposed sidewalk is less than 5-feet in width.

- Verify with DPU if utility lines within fire access drives need to be extended to serve future County Buildings, or if the water line must be looped to provide adequate water pressure. Extension of future utilities should be considered if future utility improvements would interrupt fire equipment access.

- Provide the location and screening details for any ground mounted HVAC or generator equipment.

- Provide the location a flag pole and a. light fixture to illuminate the flag pole, if desired.

Additional comments will be provided by the Departments of Public Works and Public Utilities under separate cover.

If you have any questions, or if I can be of further assistance, please call me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner

P.C.: Chuck Phan, Capital Projects Manager, Department of General Services