COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

July 7, 2021

Claire Shirley, PE

Gradient, PC

1406 Laburnum Park Blvd

Richmond, VA 23227

##### Re: 	POD-088-76 revised

##### Tidemark # POD2021-00254

##### Cool Lane Apartments (formerly Richmond Nursing Home)

##### 1900 Cool Lane Tax Map # 799-726-0294

##### Original Plan Review

##### Ms. Shirley:

Planning review of the above-referenced Preliminary Plan of Development (POD) submitted for review on March 5, 2021, has been completed. The Planning Department provides the following comments:

Submit a POD plan to the City of Richmond, for the portion of the property is located within the City limits for concurrent review and approval. A copy of the City of Richmond POD approval letter and a copy of the utility and drainage plan approved by the City of Richmond must be provided, prior to approval of the POD construction plans by Henrico County.

Include a copy of both the City of Richmond and Henrico County POD approval letters on the POD Construction plan submitted to Henrico County for signature.

The property is zoned R-6C and is subject to the Proffers of Rezoning Case REZ2019-00002 and the Conditions of Provisional Use Permit PUP2019-00001.

Revise the coversheet to also include a subtitle indicating Landscape and Lighting plans (are included on the POD construction plan.

Revise the font size for Site Data item # 13 Tree Canopy Calculations, as the minimum font size permitted is 1/10 of an inch.

Revise the minimum yard requirements shown on Sheet C3.1 to indicate: 35-foot front yard is required along Mechanicsville Turnpike, a 25-foot street side yard is required along Cool Lane, a 20-foot side yard is required along Interstate I-64 (controlled access), and a 30-foot rear yard is required from the eastern property line, abutting the lots in Cool Lane Court. (This revision would make the new stair tower along the rear of the building conforming.)

Provide a handicapped accessible curb ramp and crosswalk along the sidewalk adjacent to the northwest corner of the building to connect to the western recreational trail.

Provide details for the site wall and the handicapped ramp and stairs, located adjacent to the rear courtyard and rear entrance. Include handrail details, and top and bottom of wall elevations for those features.

Provide a materials specifications chart on the Planting (Landscaping) Plan.  Include scientific name, common name, material size (caliper/height), quantity, 10-year canopy, and details (i.e.: male/female, number of stems, etc.

Provide an additional Magnolia and an additional Oak tree, in the lawn area located at the west end of the building, north of the front entrance drive; to address interior parking area landscaping requirements. (And match the existing trees on the other side of the building.)

Provide location and screening details for HVAC, Mechanical and Utility equipment including meters, switchboxes, and generators. Provide screening details for the service area located east of the rear main building entrance. Building mounted HVAC and utility fixtures must also be screened from adjacent streets and properties.

Adjust the location of the proposed light pole located opposite the rear loading dock, so it is not located in the canopy of the existing tree or directly over the existing storm sewer, at that location.

Provide a gate detail for the dumpster enclosure.  The dumpster enclosure must be of sufficient height to screen the dumpster. Planning staff note an 8-foot-high enclosure may be required.

Provide details for all proposed fencing on site for review and approval, including the front courtyard fencing. Staff recommends 1-inch vinyl coated mesh be specified for enhanced security, where chain link fencing is provided along 1-64.

Planning staff recommend consideration of an alternative fixture for the Lumistik fixtures, as they appear too delicate for this application.

Submit a dedication plat for the dedication of additional ROW along Cool Lane to Henrico County.

Include construction staging details on the Pollution Prevention Plan sheet, showing the location of construction fencing, stockpiles, construction trailers, construction parking, and access points.

Provide tree protection tape to identify all trees to remain on the E&S plan sheets. Protect the dripline of all trees to remain, located within 25-feet of the construction area.

Revise reference in Note # 5 of the Phase 1 E & S sequence to reflect Cool Avenue instead of Dill Avenue.

Additional comments will be provided by the Departments of Public Works and Public Utilities, and, as well as the Fire Marshal, Police CPTED Planner, and the Building Official’s Office.   If you have any questions regarding the above, please contact me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner