The Traffic Engineering Division has reviewed the plans for POD2021-00462 and has the following comments:

Sheet CS-101 (Site Plan):

- Dedicated turn around spaces with adequate back-out room are required in any dead end of rows of parking. Label the striped out turn around space and MUTCD standard NO PARKING sign on the plan. Please provide a detail of the proposed sign on the plans.

- Bollards are needed for vehicular protection for any proposed doors that swing into the proposed drive aisles around the proposed building. Reference made to the labelled “SECONDARY BUILDING ENTRANCE” by the car wash egress. Details for the bollards need to be shown on the plans.

Traffic Engineering is willing to accept a PDF submittal to resolve its outstanding comments.

Additional comments may follow upon review of a subsequent submittal.

Please let me know if you have any questions.

Thank you,

Brandon House, E.I.T.

Traffic Review Engineer

County of Henrico - Department of Public Works
P.O. Box 90775 Henrico, VA 23273-0775

804.501.4661 phone | 804.501.7470 fax

hou018@henrico.us | www.henrico.us/works/traffic/