COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

February 15, 2022

Stig Owens, PE

Sekiv Solutions, PC

14207 Pond Chase Place

Midlothian, VA 23113

##### Re: 	Tidemark # POD2021-00464

##### Discovery Ridge Townhomes

##### (at Discovery UM Church)

##### 13000 Gayton Road

##### Tax Map # 732-754-3534

##### Original Site Plan Review 2

##### Mr. Owens:

Planning review of the above-referenced Site Plan submitted for review on February 9, 2022, has been completed. The Planning Department provides the following comments:

As acknowledged, division of the property into townhouse lots will require administrative approval of a final subdivision division plat for the property. A final plat approval letter will be forwarded separately.

Add copies of the Site Plan and Final Plat approval letters to the construction plan.

As acknowledged, the property was previously occupied by a coal mine.  Add a bold note on the coversheet indicating: the property was previously occupied by a coal mine and reference the engineering report which found no mine shafts, pits and/or spoils areas within the buildable areas of the proposed lots. Add a sealed copy of the engineering report summary to the construction plan.

Revise the open space plan on Sheet C-100.2 of the construction plan, to include the 15-foot-wide buffer along the rear of the townhouse lots, and exclude interior parking area landscape islands, per Sections 24-5203-7 of the Zoning Code.

Record an Open Space Tree Protection Buffer easement, along the rear of the Townhouse lots.

An easement for the proposed offsite sanitary sewer on the Church property must be recorded prior to approval of the construction plan.

The private cross-access & drainage easement with the Church must be recorded prior to approval of the construction plan.

Mark the landscape plan as not part of this approval. A Final Landscape plan must be submitted after initial grading and has been completed so tree save areas can be evaluated.

Provide screening details for all HVAC, Mechanical and Utility equipment on the landscape plan.

Provide tree protection for existing trees within the limits of disturbance to the extent possible.

A final lighting plan must be submitted for review and approval. Per Section 24-5503 E of the Zoning Code, new light poles are limited to 15-feet in height in an R zoning district.

Staff can recommend conditional site plan approval by the Director of Planning. Additional comments will be provided by the Departments of Public Works and Public Utilities.   If you have any questions regarding the above, please contact me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner