COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

July 22, 2022

Steve King, PE

Silvercore

7110 Forest Avenue, Suite 204

Henrico, VA 23226

Re: 	POD2022-00113

Wendy’s at Tuckahoe Village Shopping Center

Drive Thru Restaurant with Outdoor Dining

Revised Original Site Plan Review 2with Notice

Dear Mr. King:

Please be advised that the planning review of the above referenced Plan of Development Site Plan submitted for review on July 20, 2022, has been completed.  Based upon this review, the Planning Department has the following comments:

- Planning Staff is recommending approval of the Site and Utility Plan by the Director of Planning. Attached is a copy of our revised recommendation memo.  The Director’s conditional approval letter has been prepared and is awaiting his return from vacation on Monday. When you receive the letter, please include a copy in the construction plans

- Annotate the site lighting plan to indicate the pole fixtures shall be mounted on a horizontal plane.

The comments provided above can be addressed on the plans submitted for signature. Separate comments provided by the Departments of Public Works and Public Utilities and the Division of Fire, must be resolved prior to approval of construction plans.

If you have any questions regarding the above, please contact me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner

PC: Wilton Commercial 1, LLC