COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

October 10, 2023

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

Monte Lewis, P.E.

E.D. Lewis and Associates, P.C.

2116 Spencer Road

Richmond, VA 23230

RE:   POD2023-00284

Tidemark POD2023-00428

Libbie Mill Midtown Condo Buildings 12-14

First Construction Plan review

Sir:

The Planning Department has reviewed the above-referenced plans received September 22, 2023 and has the following comments:

- Insert the Director’s POD approval letter into the plan set.

- Update Master 3 sheet – the open space areas are outdated and incompletely identified.

- Conflicting information about tree and light post removal exists east of building 14 among the EC plan and the utilities plan.  Update tree protection delineation, limits of disturbance, and notes among these two plan components to reflect actual constructable outcome.

- Landscape/lighting plan:

  - It appears there is sufficient space to accommodate a tree in the western half of the northernmost landscape island behind the units.

  - The spot photometric plan indicates a notably higher level for sidewalk 1 north of building 13.  Evaluate if there is an option with this fixture for less lumens.

You may contact me at 501-7175 or cra094@henrico.us if you need additional information prior to submittal of the requested information.

Sincerely,

Aimee B. Crady, AICP

County Planner

Pc. Midtown Land Partners, LLC

Cite Design