COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

November 1, 2023

Edward Glass. PE

VHB

115 S. 15th Street, Suite 200

Richmond, VA 23219

##### Re: 	Tidemark # POD2023-00439

Midlothian Kids Academy

##### 1651 N. Parham Road

##### Revised Concept Plan Review

##### Mr. Glass:

Planning review of the above-referenced concept plan submitted for review on October 31, 2023, has been completed. The Planning Department provides the following comments:

- A Plan of Development (POD)site plan must be submitted for review and approval by the Director of Planning.

- DPW Traffic Engineering will establish the required right of way width and the required street improvements, including driveway entrance locations and improvements. Along both Fargo and N. Parham Roads. Please verify required right of way and street improvements with DPW-Traffic Engineering.

- Per Section 24-5312B of the Zoning Code provide perimeter landscaping along the parking area abutting N. Parham Road. Replace any missing interior parking area landscaping.

- Provide a floor plan showing egress doors and landings.

- Per Section 24-5503 of the Zoning Code, a Lighting Plan is required. The lighting plans must provide an average illumination level between 1 and 3 footcandles in parking areas and along all pedestrian walks. Fixtures must not exceed 15-feet in height within 100-feet of R-zoned property.

- Per Section 24-5313, provide a tree protection plan for trees over 6-inches in caliper located in required setbacks and buffers. Protected trees that are removed must be replaced with an equal number of 4-inch caliper trees.

- Provide fire lanes and access drive as determined by the Fire Marshal’s Office.

- Provide handicapped access and parking in accordance with ADA design standards.

- Identify the location of existing and proposed utilities.

- Provide the location and details for the dumpster enclosure.

- Per Section 24-5310 of the Zoning Code, maintain the existing transitional buffer along the eastern property line.

- Provide a construction staging plan showing the location of construction fencing, stockpiles, construction trailers, construction parking, and access points.

Additional comments will be provided by the Departments of Public Works and Public Utilities, as well as the Fire Marshal, Police CPTED Planner, and the Building Official’s Office. If you have any questions regarding the above, please contact me at 501-5920.

\

Michael F. Kennedy

County Planner