COMMONWEALTH OF VIRGINIA

COUNTY OF HENRICO

R. J. Emerson, Jr., AICP

Director of Planning

(804) 501-4602

November 2, 2023

Cameron Palmore, PE, LS

Koontz-Bryant-Johnson Williams

1703 N. Parham Road, Suite 202

Henrico, VA 23229					Re:	Project # 2016-02328

The Glens at Scott Place, Section 2

Revised Grading Plan I-95 Berm

POD2023-00462

Construction Plan Review 1

##### Dear Mr. Palmore:

Please be advised that the planning review of the above-referenced POD construction plan submitted for review on October 23, 2023, has been completed. The Planning Department has the identified the following deficiencies:

- Revise Sheet # C1.2 correct tree canopy provided in Sections 2 & 3 to reflect the berm along I-95 and show right of way to be vacated for Athens Avenue and Bridgeport Avenue as tree canopy preservation areas.

- Per Section 24-5313F of the revised Zoning Code, provide Replacement and Mitigation calculations for the removal of trees within the buffer along I-95.  You can either identify the trees over 6-inches in caliper being removed   and replace them on a 1 for 1 basis with 4-inch caliper trees; or provide a 4-inch caliper tree for every 1.000 square feet of wood land buffer cleared. Replacement trees can be included in the calculation for tree canopy provided. 4-inch caliper trees provide a 300-square foot tree canopy credit.

- The proposed berm can the counted as a wall for planting credit in the proffered 25-foot buffer.

- A revised Landscape & Fence Plan for Sections 2& 3 must be submitted for review and approval.

Additional comments will be provided under separate cover by the Departments of Public Works and Public Utilities.

If you have any questions regarding the above, please contact me at 501-5920.

Sincerely,

Michael F. Kennedy

County Planner

Pc:	Hank Wilton, Wilton Acquisition LLC